# TEXAS COMMISSION ON ENVIRONMENTAL QUALITY
PST Data Specifications
10/01/2026

The following is a description of the files that can be retrieved from the PARIS PST system. There are twelve (12) files that may be generated.  Nine files are associated with the PST Facility and Notice of Construction (NOC) data, and three files are associated with the optional tank data.

## FILE DESCRIPTION

### Facility and NOC Related Files

The twelve files that comprise the Facility and NOC related information are:

Facility – The Facility Extract contains information about each PST facility. This file contains site location and active facility contact (facility manager) for each PST facility.

Facility Billing Contacts – The Facility Billing Contacts Extract contains information about each PST facility’s current billing contacts. This file contains all active billing contacts with current AR number, AR fee code, and billing address for each PST facility.

Owner CN – The Owner CN Extract file contains the information about each PST Facility’s current owner(s) and/or owner/operator(s), and current owner and/or owner/operator contacts. A PST Facility may have more than one current owner and/or owner/operator.

Operator CN – The Operator CN Extract file contains the information about a PST Facility’s current operator(s) and/or owner/operator(s), and current operator and/or owner/operator contacts. A PST facility may have more than one current operator and/or owner/operator.

Self-Certification – The Self-Certification Extract file contains the information about UST self-certifications for each PST facility.

Self-Certification USTs – The Self-Certification USTs Extract file contains the information about each PST Facility’s self-certification for each UST tank/compartment.

Financial Assurance – The Financial Assurance Extract file contains the information about all PST Facility financial assurance (current and previous) for USTs.

Construction Notification – The Construction Notification Extract file contains information about all PST Facility’s construction notification activity for ASTs and USTs.

Contractor, Consultant, and Installer – Contains information about the contractor, consultant, and installer information for construction notification activity at PST facilities, and contractor and installer information for USTs at PST facilities.

### TANK FILES

The three files that comprise the tank information are:

Underground Storage Tank (UST) – The UST Extract file contains information about all underground storage tanks (USTs) for all PST facilities.

Underground Storage Tank (UST) Compartment – The UST Compartment Extract file contains information about underground storage tank (UST) compartments for all PST facilities.

Aboveground Storage Tank (AST) – The AST Extract contains information about above-ground storage tanks (ASTs) for all PST facilities.

### FACILITY AND NOC RELATED FILES

#### FACILITY

| Columns | Size | Description |
| --- | --- | --- |
| 1-8 | 8 | FACILITY ID (Primary Key) |
| 9-23 | 15 | ADDITIONAL ID (Foreign Key) |
| 24-29 | 6 | Facility ID (also called the facility number or AI) |
| 30-89 | 60 | Facility Name |
| 90-119 | 30 | Facility Type |
| 120-129 | 10 | Facility Begin Date (MM/DD/YYYY) |
| 130-159 | 30 | Facility Status (Pending, Active, Inactive) |
| 160 | 1 | Facility Exempt Status (Y = Yes, N = No) |
| 161 | 1 | Records Off-Site (Y = Yes, N= No) |
| 162 | 1 | UST Financial Assurance Required (Y =Yes, N = No) |
| 163-166 | 4 | Number of Active USTs |
| 167-170 | 4 | Number of Active ASTs |
| 171-220 | 50 | Site Address (delivery) |
| 221-250 | 30 | Site Address (city name) |
| 251-252 | 2 | Site Address (state code) |
| 253-257 | 5 | Site Address (zip code) |
| 258-261 | 4 | Site Address (zip code extension) |
| 262-517 | 256 | Site Location Description |
| 518-552 | 35 | Site Location (nearest city name) |
| 553-587 | 35 | Site Location (county name) |
| 588-589 | 2 | Site Location (TCEQ region) |
| 590-594 | 5 | Site Location (location zip) |
| 595-609 | 15 | Facility Contact First Name |
| 610-624 | 15 | Facility Contact Middle Name |
| 625-652 | 28 | Facility Contact Last Name |
| 653-712 | 60 | Facility Contact Title |
| 713-812 | 100 | Facility Contact Organization Name |
| 813-862 | 50 | Facility Contact Mailing Address (delivery) |
| 863-912 | 50 | Facility Contact Mailing Address (internal delivery) |
| 913-942 | 30 | Facility Contact Mailing Address (city name) |
| 943-944 | 2 | Facility Contact Mailing Address (state code) |
| 945-949 | 5 | Facility Contact Mailing Address (zip code) |
| 950-953 | 4 | Facility Contact Mailing Address (zip code extension) |
| 954-956 | 3 | Facility Contact Phone Number (area code) |
| 957-963 | 7 | Facility Contact Phone Number |
| 964-968 | 5 | Facility Contact Phone Number (extension) |
| 969-971 | 3 | Facility Contact Fax Number (area code) |
| 972-978 | 7 | Facility Contact Fax Number |
| 979-983 | 5 | Facility Contact Fax Number (extension) |
| 984-1033 | 50 | Facility Contact Email Address |
| 1034 | 1 | Facility Contact Address Deliverable (Y =Yes, N = No) |
| 1035-1044 | 10 | Application Received Date on earliest Registration Form (MM/DD/YYYY) |
| 1045-1054 | 10 | Signature Date on earliest Registration Form (MM/DD/YYYY) |
| 1055-1069 | 15 | Signature First Name on earliest Registration Form |
| 1070-1084 | 15 | Signature Middle Name on earliest Registration Form |
| 1085-1112 | 28 | Signature Last Name on earliest Registration Form |
| 1113-1172 | 60 | Signature Title on earliest Registration Form |
| 1173-1207 | 35 | Signature Role on earliest Registration Form |
| 1208-1307 | 100 | Signature Company on earliest Registration Form |
| 1308 | 1 | Enforcement Action (Y =Yes, N = No) |
| 1309-1318 | 10 | Enforcement Action Date (MM/DD/YYYY) |
| 1319 | 1 | Facility Not Inspectable (Y = Yes, N = No) |
| 1320-1349 | 30 | Facility Not Inspectable Reason |
| 1350-1379 | 30 | Facility Not Inspectable Reason |

#### Facility Billing Contacts

| Columns | Size | Description |
| --- | --- | --- |
| 1-8 | 8 | FACILITY ID (Primary Key) |
| 9-23 | 15 | ADDITIONAL ID (Foreign Key) |
| 24-38 | 15 | PRINC ID (Foreign Key) |
| 39-44 | 6 | Facility ID (also called the facility number or AI) |
| 45-104 | 60 | Facility Name |
| 105-114 | 10 | AR Number |
| 115 | 1 | AR Number Suffix (U = UST fee code) |
| 116 | 1 | AR Number Suffix (A = AST fee code) |
| 117-131 | 15 | Contact First Name |
| 132-146 | 15 | Contact Middle Name |
| 147-174 | 28 | Contact Last Name |
| 175-234 | 60 | Contact Title |
| 235-334 | 100 | Contact Organization Name |
| 335-384 | 50 | Contact Mailing Address (delivery) |
| 385-434 | 50 | Contact Mailing Address (internal delivery) |
| 435-464 | 30 | Contact Mailing Address (city name) |
| 465-466 | 2 | Contact Mailing Address (state code) |
| 467-471 | 5 | Contact Mailing Address (zip code) |
| 472-475 | 4 | Contact Mailing Address (zip code extension) |
| 476-478 | 3 | Contact Phone Number (area code) |
| 479-485 | 7 | Contact Phone Number |
| 486-490 | 5 | Phone Number (extension) |
| 491-493 | 3 | Fax Number (area code) |
| 494-500 | 7 | Contact Fax Number |
| 501-505 | 5 | Contact Fax Number (extension) |
| 506-555 | 50 | Contact Email Address |
| 556 | 1 | Contact Address Deliverable (Y =Yes, N = No) |

#### OWNER

| Columns | Size | Description |
| --- | --- | --- |
| 1-15 | 15 | PRINC ID (Primary Key) |
| 16-30 | 15 | ADDITIONAL ID (Foreign Key) |
| 31-36 | 6 | Facility ID (also called the facility number or AI) |
| 37-47 | 11 | Owner CN |
| 48-147 | 100 | Owner Name (company name or individual’s last name) |
| 148-162 | 15 | Owner Name (individual’s first name) |
| 163-177 | 15 | Owner Name (individual’s middle name) |
| 178-187 | 10 | Owner Effective Begin Date (MM/DD/YYYY) |
| 188-189 | 2 | Owner Type |
| 190-204 | 15 | State Tax ID |
| 205-214 | 10 | Contact Role |
| 215-229 | 15 | Contact First Name |
| 230-244 | 15 | Contact Middle Name |
| 245-272 | 28 | Contact Last Name |
| 273-332 | 60 | Contact title |
| 333-432 | 100 | Contact Organization Name |
| 433-482 | 50 | Contact Mailing Address (delivery) |
| 483-532 | 50 | Contact Mailing Address (internal delivery) |
| 533-562 | 30 | Contact Mailing Address (city name) |
| 563-564 | 2 | Contact Mailing Address (state code) |
| 565-569 | 5 | Contact Mailing Address (zip code) |
| 570-573 | 4 | Contact Mailing Address (zip code extension) |
| 574-588 | 15 | Contact Mailing Address (foreign postal code) |
| 589-591 | 3 | Contact Mailing Address (country code) |
| 592-596 | 5 | Contact Phone Number (country code) |
| 597-599 | 3 | Contact Phone Number (area code) |
| 600-606 | 7 | Contact Phone Number |
| 607-611 | 5 | Contact Phone Number ( extension) |
| 612-616 | 5 | Contact Fax Number (country code) |
| 617-619 | 3 | Contact Fax Number (area code) |
| 620-626 | 7 | Contact Fax Number |
| 627-631 | 5 | Contact Fax Number (extension number) |
| 632-681 | 50 | Contact Email Address |
| 682 | 1 | Contact Address Deliverable (Y =Yes, N = No) |

#### OPERATOR CN

| Columns | Size | Description |
| --- | --- | --- |
| 1-15 | 15 | PRINC ID (Primary Key) |
| 16-30 | 15 | ADDITIONAL ID (Foreign Key) |
| 31-36 | 6 | Facility ID (also called the facility number or AI) |
| 37-47 | 11 | Operator CN |
| 48-147 | 100 | Operator Name (company name or individual’s last name) |
| 148-162 | 15 | Operator Name (individual’s first name) |
| 163-177 | 15 | Operator Name (individual’s middle name) |
| 178-187 | 10 | Operator Effective Begin Date (MM/DD/YYYY) |
| 188-189 | 2 | Operator Type |
| 190-199 | 10 | Contact Role |
| 200-214 | 15 | Contact First Name |
| 215-229 | 15 | Contact Middle Name |
| 230-257 | 28 | Contact Last Name |
| 258-317 | 60 | Contact title |
| 318-417 | 100 | Contact Organization Name |
| 418-467 | 50 | Contact Mailing Address (delivery) |
| 468-517 | 50 | Contact Mailing Address (internal delivery) |
| 518-547 | 30 | Contact Mailing Address (city name) |
| 548-549 | 2 | Contact Mailing Address (state code) |
| 550-554 | 5 | Contact Mailing Address (zip code) |
| 555-558 | 4 | Contact Mailing Address (zip code extension) |
| 559-573 | 15 | Contact Mailing Address (foreign postal code) |
| 574-576 | 3 | Contact Mailing Address (country code) |
| 577-581 | 5 | Contact Phone Number (country code) |
| 582-584 | 3 | Contact Phone Number (area code) |
| 585-591 | 7 | Contact Phone Number |
| 592-596 | 5 | Contact Phone Number ( extension) |
| 597-601 | 5 | Contact Fax Number (country code) |
| 602-604 | 3 | Contact Fax Number (area code) |
| 605-611 | 7 | Contact Fax Number |
| 612-616 | 5 | Contact Fax Number (extension number) |
| 617-666 | 50 | Contact Email Address |
| 667 | 1 | Contact Address Deliverable (Y =Yes, N = No) |

#### SELF-CERTIFICATION

| Columns | Size | Description |
| --- | --- | --- |
| 1-8 | 8 | SELF_CERT ID (Primary Key) |
| 9-16 | 8 | FACILITY ID (Foreign Key) |
| 17-22 | 6 | Facility ID (also called the facility number or AI) |
| 23-32 | 10 | Signature Date (self-certification date)(MM/DD/YYYY) |
| 33-82 | 50 | Signature Name |
| 83-112 | 30 | Signature Title |
| 113-142 | 30 | Signature Type Role |
| 143-172 | 30 | Filing Status(INITIAL, RENEWAL, AMENDMENT) |
| 173 | 1 | Registration Self-Certification flag (Y=Yes, N = No) |
| 174 | 1 | Facility Fees Self-Certification flag (Y=Yes, N = No) |
| 175 | 1 | Financial Assurance Self-Certification flag (Y=Yes, N = No) |
| 176 | 1 | Technical Standards Self-Certification flag (Y=Yes, N = No) |
| 177-186 | 10 | Delivery Certificate Expiration Date (MM/DD/YYYY) |
| 187 | 1 | Reporting Method (P = PAPER, S = STEERS) |
| 188 | 1 | Tank Corrosion Protection Compliance Indicator (on signature date) (Y=Yes, N = No) |
| 189 | 1 | Piping Corrosion Protection Compliance Indicator (on signature date) (Y=Yes, N = No) |
| 190 | 1 | Compartment Release Detection Compliance Indicator (on signature date) (Y=Yes, N = No) |
| 191 | 1 | Piping Release Detection Compliance Indicator (on signature date) (Y=Yes, N = No) |
| 192 | 1 | Spill Prevention & Overfill Compliance Indicator (on signature date) (Y=Yes, N = No) |

#### SELF-CERTIFICATION USTS

| Columns | Size | Description |
| --- | --- | --- |
| 1-8 | 8 | SELF_CERT_COMPRT_ID (Primary Key) |
| 9-16 | 8 | SELF_CERT_ID (Foreign Key) |
| 17-24 | 8 | UST COMPRT ID (Foreign Key) |
| 25-32 | 8 | UST ID (Foreign Key) |
| 33-38 | 6 | Facility ID (also called the facility number or AI) |
| 37-48 | 10 | Tank ID |
| 49 | 1 | Compartment ID (A, B, C, etc.) |

#### FINANCIAL ASSURANCE

| Columns | Size | Description |
| --- | --- | --- |
| 1-8 | 8 | FINANCIAL ASSURANCE ID (Primary Key) |
| 9-16 | 8 | FACILITY ID (Foreign Key) |
| 17-22 | 6 | Facility ID (also called the facility number or AI) |
| 23-32 | 10 | Form Received Date (MM/DD/YYYY) |
| 33-62 | 30 | Mechanism Type |
| 63-92 | 30 | Mechanism Type Other |
| 93 | 1 | Multiple Mechanism Types (Y = Yes, N = No) |
| 94-143 | 50 | Issuer Name |
| 144-148 | 5 | Issuer Phone (country code) |
| 149-151 | 3 | Issuer Phone (area code) |
| 152-158 | 7 | Issuer Phone Number |
| 159-163 | 5 | Issuer Phone (extension) |
| 164-193 | 30 | Policy or Mechanism Number |
| 194-203 | 10 | Coverage Effective Begin Date (MM/DD/YYYY) |
| 204-213 | 10 | Coverage Expiration Date (MM/DD/YYYY) |
| 214-243 | 30 | Coverage Amount per Occurrence |
| 244-273 | 30 | Coverage Amount per Annual Aggregate |
| 274 | 1 | Insurance Premium Pre-Paid for Entire Year Flag (Y=Yes, N = No) |
| 275 | 1 | First Party Corrective Action Met Flag (Y = Yes, N = No) |
| 276 | 1 | Third Party Financial Assurance Met Flag (Y=Yes, N= No) |
| 277 | 1 | Proof of Financial Assurance Flag (Y =Yes, N = No) |
| 278 | 1 | Meets Financial Assurance Requirements Flag (Y= Yes, N = No) |

#### CONSTRUCTION NOTIFICATION

| Columns | Size | Description |
| --- | --- | --- |
| 1-8 | 8 | NOC ID (Primary Key, Foreign Key) |
| 9-16 | 8 | FACILITY ID (Foreign Key) |
| 17-22 | 6 | Facility ID (also called the facility number or AI) |
| 23-32 | 10 | Application Received Date (MM/DD/YYYY) |
| 33-42 | 10 | Scheduled Construction Date (MM/DD/YYYY) |
| 43 | 1 | UST Improvement (Y=Yes, N = No) |
| 44 | 1 | UST Installation (Y=Yes, N = No) |
| 45 | 1 | UST Removal (Y=Yes, N No) |
| 46 | 1 | UST Repair (Y=Yes, N = No) |
| 47 | 1 | UST Return to Service (Y=Yes, N = No) |
| 48 | 1 | UST Replacement (Y=Yes, N = No |
| 49 | 1 | UST Abandonment (Y=Yes, N = No) |
| 50 | 1 | UST Stage I (Y=Yes, N = no) |
| 51 | 1 | AST Installation (Y=Yes, N = No) |
| 52 | 1 | AST Stage I (Y=Yes, N = No) |
| 53-67 | 15 | Historical Tracking Number |
| 68 | 1 | Waiver Flag (Y= Yes, N = No) |
| 69 | 1 | Late Filing Flag (Y = Yes, N = No) |
| 70-79 | 10 | Form Received Date (MM/DD/YYYY) |
| 80-89 | 10 | Signature Date on Form (MM/DD/YYYY) |
| 90-104 | 15 | Signature First Name on Form |
| 105-119 | 15 | Signature Middle Name on Form |
| 120-147 | 28 | Signature Last Name on Form |
| 148-247 | 100 | Signature Company on Form |
| 248-307 | 60 | Signature Title on Form |
| 308-342 | 35 | Signature Role |
| 343-545 | 203 | Owner Name(s) (at time of construction) |
| 546-570 | 25 | Owner CN(s) (at time of construction) |
| 571-593 | 23 | Owner AR(s) (at time of construction) |
| 594-843 | 250 | General Description (of proposed construction) |

#### CONTRACTOR, CONSULTANT, AND INSTALLER

| Columns | Size | Description |
| --- | --- | --- |
| 1-8 | 8 | CNTRCTR_CONSUL_INSTALLER ID (Primary Key) |
| 9-16 | 8 | UST ID (Foreign Key) |
| 17-24 | 8 | NOC ID (Foreign Key) |
| 25-30 | 6 | Facility ID (also called the facility number or AI) |
| 31-40 | 10 | Type of Contact (CONTRACTOR, CONSULTANT, or INSTALLER) |
| 41-49 | 9 | Contractor CRP Number or Installer ILP Number |
| 50-149 | 100 | Company Name |
| 150-164 | 15 | Representative First Name |
| 165-179 | 15 | Representative Middle Name |
| 180-207 | 28 | Representative Last Name |
| 208-257 | 50 | Mailing Address (delivery) |
| 258-307 | 50 | Mailing Address (internal delivery) |
| 308-337 | 30 | Mailing Address (city name) |
| 338-339 | 2 | Mailing Address (state code) |
| 340-344 | 5 | Mailing Address (five digit zip code) |
| 345-359 | 15 | Mailing Address (foreign postal code) |
| 360-362 | 3 | Mailing Address (country code) |
| 363-367 | 5 | Phone Number (country code) |
| 368-370 | 3 | Phone Number (area code) |
| 371-377 | 7 | Phone Number |
| 378-382 | 5 | Phone Number (extension) |
| 383-387 | 5 | Fax Number (country code) |
| 388-390 | 3 | Fax Number (area code) |
| 391-397 | 7 | Fax Number |
| 398 | 50 | Email Address |

### TANK FILES

#### UNDERGROUND STORAGE TANK (UST)

| Columns | Size | Description |
| --- | --- | --- |
| 1-8 | 8 | UST ID (Primary Key) |
| 9-16 | 8 | FACILITY ID (Foreign Key) |
| 17-22 | 6 | Facility ID (also called the facility number or AI) |
| 23-32 | 10 | Tank ID |
| 33-34 | 2 | Number of Compartments |
| 35-44 | 10 | Tank Installation Date (MM/DD/YYYY) |
| 45-54 | 10 | Tank Registration Date (MM/DD/YYYY) |
| 55-62 | 8 | Tank Capacity (in gallons) |
| 63-92 | 30 | Tank Status (current) |
| 93-102 | 10 | Tank Status (current) Begin Date (MM/DD/YYYY) |
| 103 | 1 | Empty (Y = Empty, N = Not Empty) |
| 104-133 | 30 | Tank Regulatory Status |
| 132-143 | 10 | Tank Internal Protection (internal tank lining date) (MM/DD/YYYY) |
| 144 | 1 | Tank Design (Single Wall) (Y=Yes, N=No) |
| 145 | 1 | Tank Design (Double Wall) (Y=Yes, N=No) |
| 146 | 1 | Piping Design (Single Wall) (Y=Yes, N=No) |
| 147 | 1 | Piping Design (Double Wall) (Y=Yes, N=No) |
| 148 | 1 | Tank External Containment (Factory-Built Nonmetallic Jacket) (Y=Yes, N=No) |
| 149 | 1 | Tank External Containment (Synthetic Tank-Pit/Piping-Trench Liner) (Y=Yes, N=No) |
| 150 | 1 | Tank External Containment (Tank Vault/Rigid Trench Liner) (Y=Yes, N=No) |
| 151 | 1 | Piping External Containment (Factory-Built Nonmetallic Jacket) (Y=Yes, N=No) |
| 152 | 1 | Piping External Containment (Synthetic Tank-Pit/Piping-Trench Liner) (Y=Yes, N=No) |
| 153 | 1 | Piping External Containment (Tank Vault/Rigid Trench Liner) (Y=Yes, N=No) |
| 154 | 1 | Type of Piping (P=Pressurized, S=Suction, G=Gravity) |
| 155 | 1 | Tank Material (Steel) (Y=Yes, N=No) |
| 156 | 1 | Tank Material (FRP(fiberglass-reinforced plastic)) (Y=Yes, N=No) |
| 157 | 1 | Tank Material (Composite (steel w/external FRP cladding))(Y=Yes, N=No) |
| 158 | 1 | Tank Material (Concrete) |
| 159 | 1 | Tank Material (Jacketed (steel w/external nonmetallic jacket)) (Y=Yes, N=No) |
| 160 | 1 | Tank Material (Coated (steel w/external polyurethane cladding)) (Y=Yes, N=No) |
| 161 | 1 | Piping Material (Steel) (Y=Yes, N=No) |
| 162 | 1 | Piping Material (FRP(fiberglass reinforced plastic)) (Y=Yes, N=No) |
| 163 | 1 | Piping Material (Concrete) |
| 164 | 1 | Piping Material (Jacketed (steel w/external nonmetallic jacket)) (Y=Yes, N=No) |
| 165 | 1 | Piping Material (Nonmetallic flexible piping) (Y=Yes, N=No) |
| 166 | 1 | Piping Connectors & Valves (Shear/Impact Valves (under dispenser)) (Y=Yes, N=No) |
| 167 | 1 | Piping Connectors & Valves (Steel swing-joints (at end of piping)) (Y=Yes, N=No) |
| 168 | 1 | Piping Connectors & Valves (Flexible connectors (at ends of piping)) (Y=Yes, N=No) |
| 169 | 1 | Tank Corrosion Protection Method (External Dielectric Coating/ Laminate/Tape/Wrap) (Y=Yes, N=No) |
| 170 | 1 | Tank Corrosion Protection Method (Cathodic Protection - Factory Installation) (Y=Yes, N=No) |
| 171 | 1 | Tank Corrosion Protection Method (Cathodic Protection - Field Installation) (Y=Yes, N=No) |
| 172 | 1 | Tank Corrosion Protection Method (Composite Tank (steel w/FRP external laminate) (Y=Yes, N=No) |
| 173 | 1 | Tank Corrosion Protection Method (Coated Tank (steel w/external polyurethane laminate) (Y=Yes, N=No) |
| 174 | 1 | Tank Corrosion Protection Method (FRP tank or piping (noncorrodible) (Y=Yes, N=No) |
| 175 | 1 | Tank Corrosion Protection Method (External nonmetallic jacket) (Y=Yes, N=No) |
| 176 | 1 | Tank Corrosion Protection Method (Unnecessary per corrosion protection specialist) (Y=Yes, N=No) |
| 177 | 1 | Piping Corrosion Protection Method (External Dielectric Coating/ Laminate/Tape/Wrap) (Y=Yes, N=No) |
| 178 | 1 | Piping Corrosion Protection Method (Cathodic Protection - Factory Installation) (Y=Yes, N=No) |
| 179 | 1 | Piping Corrosion Protection Method (Cathodic Protection - Field Installation) (Y=Yes, N=No) |
| 180 | 1 | Piping Corrosion Protection Method (FRP tank or piping (noncorrodible) (Y=Yes, N=No) |
| 181 | 1 | Piping Corrosion Protection Method (Nonmetallic flexible piping (noncorrodible)) (Y=Yes, N=No) |
| 182 | 1 | Piping Corrosion Protection Method (Isolated in Open Area/2nd Containment) (Y=Yes, N=No) |
| 183 | 1 | Piping Corrosion Protection Method (Dual Protected) (Y=Yes, N=No) |
| 184 | 1 | Piping Corrosion Protection Method (Unnecessary per corrosion protection specialist) (Y=Yes, N=No) |
| 185 | 1 | Tank Corrosion Protection Compliance Flag (Y=Yes, N=No) |
| 186 | 1 | Piping Corrosion Protection Compliance Flag (Y=Yes, N=No) |
| 187 | 1 | Tank Corrosion Protection Variance (Y = Variance, N = No Variance) |
| 188 | 1 | Piping Corrosion Protection Variance (Y= Variance, N = No Variance) |
| 189 | 1 | Temporarily Out of Service Compliance (Y=Yes, N=No) |
| 190 | 1 | Technical Compliance Flag (Y=Yes, N=No) |
| 191 | 1 | Tank Tested Flag (Y = Yes, N = No) |
| 192-201 | 10 | Installation Signature Date (MM/DD/YYYY) |

#### UST COMPARTMENT

| Columns | Size | Description |
| --- | --- | --- |
| 1-8 | 8 | UST COMPRT ID (Primary Key) |
| 9-16 | 8 | UST ID (Foreign Key) |
| 17-22 | 6 | Facility ID (also called the facility number or AI) |
| 23-32 | 10 | Tank ID |
| 33 | 1 | Compartment ID (A, B, C, etc.) |
| 34-41 | 8 | Capacity (in gallons) |
| 42-71 | 30 | Substance Stored |
| 72-101 | 30 | Substance Stored |
| 102-131 | 30 | Substance Stored |
| 132 | 1 | Compartment Release Detection Method (Vapor Monitoring) (Y=Yes, N = No) |
| 133 | 1 | Compartment Release Detection Method (Groundwater Monitoring) (Y=Yes, N = No) |
| 134 | 1 | Compartment Release Detection Method (Monitoring of secondary containment barrier) (Y=Yes, N = No) |
| 135 | 1 | Compartment Release Detection Method (Automatic Tank Gauge Test & Inventory Control) (Y=Yes, N = No) |
| 136 | 1 | Compartment Release Detection Method (Interstitial Monitoring within secondary wall/jacket) (Y=Yes, N = No) |
| 137 | 1 | Compartment Release Detection Method (Weekly Manual Tank Gauging (tanks <= 1000 gal))(Y=Yes, N = No) |
| 138 | 1 | Compartment Release Detection Method (Monthly Tank Gauging (for Emer. Generator tanks)) (Y=Yes, N = No) |
| 139 | 1 | Compartment Release Detection Method (SIR (Stat. Inventory Reconciliation) & Inventory Control)) (Y=Yes, N = No) |
| 140 | 1 | Piping Release Detection Method (Vapor Monitoring) (Y=Yes, N = No) |
| 141 | 1 | Piping Release Detection Method (Groundwater Monitoring) (Y=Yes, N = No) |
| 142 | 1 | Piping Release Detection Method (Monitoring of secondary containment barrier) (Y=Yes, N = No) |
| 143 | 1 | Piping Release Detection Method (Interstitial Monitoring within secondary wall/jacket) (Y=Yes, N = No) |
| 144 | 1 | Piping Release Detection Method (Monthly Piping Tightness Test (@0.2 gph)) (Y=Yes, N = No) |
| 145 | 1 | Piping Release Detection Method (Annual Piping Tightness Test /Annual Electronic Monitoring(@0.1 gph)) (Y=Yes, N = No) |
| 146 | 1 | Piping Release Detection Method (Triennial Tightness Test (for suction/gravity piping)) (Y=Yes, N = No) |
| 147 | 1 | Piping Release Detection Method Auto. Line Leak Detector (3.0 gph for pressure piping))(Y=Yes, N = No) |
| 148 | 1 | Piping Release Detection Method (SIR (Stat. Inventory Reconciliation) & Inventory Control)(Y=Yes, N = No) |
| 149 | 1 | Piping Release Detection Method (Exempt system suction) (Y=Yes, N = No) |
| 150 | 1 | Spill and Overfill Prevention Equipment (tight-Fill Fitting Container/Bucket/Sump) (Y=Yes, N = No) |
| 151 | 1 | Spill and Overfill Prevention Equipment (Factory – Built Spill Container/Bucket/Sump) (Y=Yes, N = No) |
| 152 | 1 | Spill and Overfill Prevention Equipment (Delivery Shut-Off Valve) (Y=Yes, N = No) |
| 153 | 1 | Spill and Overfill Prevention Equipment (Flow Restrictor Value) (Y=Yes, N = No) |
| 154 | 1 | Spill and Overfill Prevention Equipment (Alarm (set@<=90%) w/3a or 3b)) (Y=Yes, N = No) |
| 155 | 1 | Spill and Overfill Prevention Equipment (N/A – all deliveries to tank <=25 gal) (Y=Yes, N = No) |
| 156 | 1 | Compartment Release Detection Compliance Flag ( Y=Yes, N =No) |
| 157 | 1 | Piping Release Detection Compliance Flag (Y=Yes, N = No) |
| 158 | 1 | Spill and Overfill Prevention Compliance Flag ( Y=Yes, N = No) |
| 159 | 1 | Compartment Release Detection Variance (Y = Variance, N = No Variance) |
| 160 | 1 | Piping Release Detection Variance (Y = Variance, N= No Variance) |
| 161 | 1 | Spill and Overfill Prevention Variance (Y = Variance, N = No Variance) |
| 162-191 | 30 | Stage I Vapor Recovery |
| 192-201 | 10 | Stage 1 Installation Date (MM/DD/YYYY) |

#### ABOVEGROUND STORAGE TANK (AST)

| Columns | Size | Description |
| --- | --- | --- |
| 1-8 | 8 | AST ID (Primary Key) |
| 9-16 | 8 | FACILITY ID (Foreign Key) |
| 17-22 | 6 | Facility ID (also called the facility number or AI) |
| 23-32 | 10 | Tank ID |
| 33 | 1 | Multiple Compartment Flag (Y = Yes, N = No) |
| 34-43 | 10 | Tank Installation Date (MM/DD/YYYY) |
| 44-53 | 10 | Tank Registration Date (MM/DD/YYYY) |
| 54-83 | 30 | Tank Status (current) |
| 84-93 | 10 | Tank Status (current) Begin Date (MM/DD/YYYY) |
| 94-123 | 30 | Tank Regulatory Status |
| 124-131 | 8 | Tank Capacity (in gallons) |
| 132-161 | 30 | Substance Stored |
| 162-191 | 30 | Substance Stored |
| 192-221 | 30 | Substance Stored |
| 222 | 1 | Material of Construction (Steel) (Y=Yes, N = No) |
| 223 | 1 | Material of Construction (Fiberglass) (Y=Yes, N = No) |
| 224 | 1 | Material of Construction (Aluminum) (Y=Yes, N = No) |
| 225 | 1 | Material of Construction (Corrugated Metal) (Y=Yes, N = No) |
| 226 | 1 | Material of Construction (Concrete) (Y=Yes, N = No) |
| 227 | 1 | Containment (Earthen Dike) |
| 228 | 1 | Containment (Containment Liner) (Y=Yes, N = No) |
| 229 | 1 | Containment (Concrete) |
| 230 | 1 | Containment (None) (Y=Yes, N = No) |
| 231-260 | 30 | Stage I Vapor Recovery |
| 261-270 | 10 | Stage 1Installation Date (MM/DD/YYYY) |